## EE-EA
Part 1 - General Information
Name of Building
|  | English |  |  |  |  | 中文
Address of Building
|  | Street No. | Street
HK
Kowloon
|  | District | [6 empty] | New Territories
Owner of Building
|  | Name (Company / Organization / Owners' Corporation)# |  |  |  |  | 名稱（公司/機構/業主立案法團）#
|  | Room/Flat | Floor | Block |  | Building
|  | Street No. | Street and District
Correspondence Address of Owner
|  | Tel. No. |  | Email Address |  |  |  | Fax No.
Representative of Owner of Building
|  | Name in English# |  |  |  | 中文名# |  |  | Title
|  | Room/Flat | Floor | Block |  | Building
|  | Street No. | Street and District
Correspondence Address of Representative (can be a company, an organization or a person)
|  | Tel No. |  | Email Address |  |  |  | Fax No.
(If the Representative is a company or organization, please indicate below the Representative's contact person.)
|  | Position in company/organization |  | Name in English (contact person)# |  |  | 中文名(聯絡人)# |  | Title
Documents submitted (Please tick where appropriate) | [8 empty] | No. of Sheets
Form EE-EA Part 1 to Part 3 (to be appended with Form EE-EAes@)
Form EE-EAes@ Part 1: Administrative Information & Building Characteristics
Form EE-EAes@ Part 2: Historical Energy Consumption Analysis
Form EE-EAes@ Part 3: Energy Management Opportunities
Others (Please give details)
Remarks:-
1) | # If the name is for a person, please have his/her surname to precede the given name, and indicate his/her relevant title.
2) | @ This form should be appended with Form EE-EAes in the submission
3) | The information provided in Form EE-EA and Form EE-EAes are for demonstration of compliance with the EAC for the energy audit of the central building services installations, and should cover all the relevant items governed by the EAC.
4) | Any incomplete or erroneous information in this Form EE-EA and Form EE-EAes may render the forms being regarded invalid.
Part 2 - Energy Audit Requirement |  |  |  |  | (EAC Section 7) | (Please select Yes or No)
1. | Building information collected and studied (EAC Clause 7.2)?
2. | Site inspection for energy consuming equipment/systems of central building services installations conducted and records of their characteristics compiled (EAC Clause 7.3.1)?
3. | Power and energy consumption of building services energy consuming equipment/systems identified and calculated (EAC Clause 7.3.2)?
4. | Potential energy management opportunities (EMO) identified (EAC Clause 7.4)?:
a) The evaluation on energy consumption equipment / systems conducted (EAC Clause 7.4.1)?
b) The comparison with original design and operating conditions conducted (EAC Clause 7.4.2)?
c) Potential EMO on the improvement on behaviours of the responsible person of units outside common area considered (EAC Clause 7.4.3)?
d) The viability of replacement of energy consuming equipment / systems with more efficient model or adjustment to operate the equipment in more energy means studied (EAC Clause 7.4.4)?
e) The viability of deployment of energy recovery system(s) and on-site renewable energy system(s) studied (EAC Clause 7.4.4)?
f) The obvious opportunities of energy saving based on the results of site inspection identified (EAC Clause 7.4.5)?
g) Potential EMO based on energy consumption pattern and in respect of enhancement of automatic control / system balancing / system optimization identified (EAC Clause 7.4.6)?
5. | Cost benefit of potential EMO analyzed (EAC Clause 7.5)?:
(a) The energy saving and capital cost on potential EMO estimated and the cost benefit analysis carried out accordingly (EAC Clause 7.5.1)?
(b) The conditions that will affect the measurement of energy use properly recorded (EAC Clause 7.5.3)?
(c) The equipment's service life and degradation of energy efficiency considered (EAC Clause 7.5.4)?
(d) Energy prices for evaluation of cost benefit specified (EAC Clause 7.5.5)?
(e) The period of time for energy use measurement to cover a complete operating cycle or the methodology of projection of measured energy indicated (EAC Clause 7.5.6)?
(f) Metering point, metering information and measurement interval recorded (EAC Clause 7.5.7)?
6. | Recommendations for implementation of EMO provided (EAC Clause 7.6)?
(a) Recommendations for the implementation of EMO based on energy savings, cost benefits and the robustness of the energy data made (EAC Clause 7.6.1)?
(b) The intended result and procedure to implement / install the EMO under proper conditions described (EAC Clause 7.6.2)?
(c) The metering point and measurement device / parameter / time interval summarized (EAC Clause 7.6.3)?
(d) The known programmed operation & maintenance activities of the building highlighted (EAC Clause 7.6.4)?
7. | Energy audit report compiled (EAC Clause 7.7)?
Part 3 - Energy Audit Report |  |  |  |  | (EAC Section 8) | (Please select Yes or No)
1. | Executive summary (prepared using Form EE-EAes) included in the energy audit report (EAC Clause 8.2), and copied as attachment to this Form EE-EA?
2. | Following information included in the energy audit report (EAC Clause 8.1)?
| (a) | energy audit scope (EAC Clause 8.1(a))
| (b) | building characteristics (floor area, occupancy, hours of operation, etc.) (EAC Clause 8.1(b))
| (c) | description of equipment/systems audited (EAC Clause 8.1(c))
| (d) | energy consumption and performance evaluation of equipment/systems (EAC Clause 8.1(d))
| (e) | detailed technical characteristics of air-conditioning equipment/systems (EAC Clause 8.1(e))
| (f) | total lighting power (EAC Clause 8.1(f))
| (g) | analysis of historical energy consumption of building (EAC Clause 8.1(g))
| (h) | the energy supply from the central building services installation to the building's units (EAC Clause 8.1(h))
| (i) | potential EMO found through information review and site inspection (EAC Clause 8.1(i))
| (j) | evaluations of potential EMO, including cost benefit analyses with consideration of equipment's service life and degradation of energy efficiency (EAC Clause 8.1(j))
| (k) | referencing to past energy audit report, if available (EAC Clause 8.1(k))
| (l) | classifications of EMO into categories I, II or III and recommendations with suggestions & viability of implementing energy recovery system(s) and/or on-site renewable energy system(s) (EAC Clause 8.1(l))
| (m) | administrative information (audit commencement, energy bill reference month, etc.) (EAC Clause 8.1(m))
Note on J18: Click to select Mr, Miss or Ms
Note on J28: Click to select Mr, Miss or Ms
Note on J43: Click to select Yes or No
Note on J44: Click to select Yes or No
Note on J45: Click to select Yes or No
Note on J46: Click to select Yes or No
Note on J54: Click to select Yes or No
Note on J61: Click to select Yes or No
Note on J66: Click to select Yes or No
Note on J71: Click to select Yes or No
Note on J72: Click to select Yes or No
Note on J73: Click to select Yes or No
Note on J74: Click to select Yes or No
Note on J75: Click to select Yes or No
Note on J76: Click to select Yes or No
Note on J77: Click to select Yes or No
Note on J78: Click to select Yes or No
Note on J79: Click to select Yes or No
Note on J80: Click to select Yes or No
Note on J81: Click to select Yes or No
Note on J82: Click to select Yes or No
Note on J69: Click to select Yes or No
Note on J83: Click to select Yes or No