File Ref. : EMSD/GSD-B/

 **Testing and Examination of LPG Pipes (Form 108)**

 **under Part V of Gas Safety (Gas Supply) Regulations, Cap. 51**

To : The Gas Authority

Address of Notifiable Gas Installation:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Details of pipework materials and tests are as follows: (Date of Testing:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_)

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  Section of Pipework | All LiquidLines | All High Pressure Vapour Lines | All Medium Pressure Vapour Lines | All Low Pressure Vapour Lines |
| Pipeline specification |  |  |  |  |
| Fitting specification |  |  |  |  |
| Valve material and rating |  |  |  |  |
| Testing medium |  |  |  |  |
| Working pressure (kPa) |  |  |  |  |
| Test pressure (kPa) |  |  |  |  |
| Duration of test (hr) |  |  |  |  |
| Pressure setting of Hydrostatic Pressure Relief Valve (kPa) |  | N/A | N/A | N/A |

Remarks : Pressure drop observed? Yes/No.

If 'Yes', please specify causes and remedial actions:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Test and examination was carried out by Gas Systems Contractor & RGI: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Certified by Class 1a Competent Person:

I certify that all liquefied petroleum gas pipework installed at the above premises is constructed of suitable materials and has been tested/examined in accordance with the Gas Standards Office’s requirements. All pipework has been adequately protected against corrosion in accordance with the specifications.

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_