## Template
Calculation Template for Lighting Power Density (LPD) | [16 empty] | Form EE-LPD
Complicance with Building Energy Code (BEC) Edition *1 | 2024
Name of space / Space Ref. No.*2 | Type of Space | Area of Space (m2) | Luminarie Schedule (Please add extra column if necessary) | [6 empty] | Total Citcuit Wattage (W) *3 | Installed LPD (W/m2) *4 | Maximum Allowed LPD (W/m2) | Compliance Check for LPD | ALC Control Required | Provision of ALC fulfill BEC Clause 5.6*5 | Required Lighting Control Point fulfill BEC Clause 5.5 | Installed Lighting Control Point fulfill BEC Clause 5.5 | Remarks*6
|  |  | Designation | Fixture 1 | Fixture 2 | Fixture 3
Nominal Lamp Wattage (W)
Gear Loss (W)
|  |  | Total Wattage (W) | 0 | 0 | 0 | 0 | 0 | 0
| Select corresponding type of space |  | Please specify the quantity of each type of luminarie in each space | [6 empty] | 0 |  | N/A | N/A | N/A
| Select corresponding type of space | [8 empty] | 0 |  | N/A | N/A | N/A
| Select corresponding type of space | [8 empty] | 0 |  | N/A | N/A | N/A
| Select corresponding type of space | [8 empty] | 0 |  | N/A | N/A | N/A
| Select corresponding type of space | [8 empty] | 0 |  | N/A | N/A | N/A
| Select corresponding type of space | [8 empty] | 0 |  | N/A | N/A | N/A
| Select corresponding type of space | [8 empty] | 0 |  | N/A | N/A | N/A
| Select corresponding type of space | [8 empty] | 0 |  | N/A | N/A | N/A
| Select corresponding type of space | [8 empty] | 0 |  | N/A | N/A | N/A
| Select corresponding type of space | [8 empty] | 0 |  | N/A | N/A | N/A
| Select corresponding type of space | [8 empty] | 0 |  | N/A | N/A | N/A
| Select corresponding type of space | [8 empty] | 0 |  | N/A | N/A | N/A
| Select corresponding type of space | [8 empty] | 0 |  | N/A | N/A | N/A
| Select corresponding type of space | [8 empty] | 0 |  | N/A | N/A | N/A
| Select corresponding type of space | [8 empty] | 0 |  | N/A | N/A | N/A
| Select corresponding type of space | [8 empty] | 0 |  | N/A | N/A | N/A
Remarks
*1 Please indicate the edition of building energy code in this application
*2 Please indicate the space Ref No. / name of space on the relevant drawing. Spaces each having total electrical power consumed by the complete fixed lighting installation not exceeding 70W may be excluded
*3 Submit details of each of the lamp type, nominal lamp wattage & lamp control gear loss in that space on separate sheets with clear cross-referencing and attach to this form
*4 Lighting where BEC Clause 5.1.2 is applicable and emergency lighting of non-maintained type can be excluded in the LPD calculation.
*5 Please indicate the type of control. If the total installed power is less than 150W, enter 'N/A'
*6 Please supplement if this table cannot demonstrate compliance with the lighting space.
*7 Please insert additional row if necessary

## Reference Table
Extract from BEC 2012, Table 5.4 |  |  | Extract from BEC 2015, Table 5.4 |  |  | Extract from BEC 2018, Table 5.4 |  |  | Extract from BEC 2021, Table 5.4 |  |  | Extract from BEC 2024, Table 5.4
Type of Space | Maximum Allowable LPD (W/m2) | Automatic Lighting Control Required | Type of Space | Maximum Allowable LPD (W/m2) | Automatic Lighting Control Required | Type of Space | Maximum Allowable LPD (W/m2) | Automatic Lighting Control Required | Type of Space | Maximum Allowable LPD (W/m2) | Automatic Lighting Control Required | Type of Space | Maximum Allowable LPD (W/m2) | Automatic Lighting Control Required | Type of lamp | BEC Version
|  | (Yes / No) |  |  | (Yes / No) |  |  | (Yes / No) |  |  | (Yes / No) |  |  | (Yes / No)
Select corresponding type of space | N/A | N/A | Select corresponding type of space | N/A | N/A | Select corresponding type of space | N/A | N/A | Select corresponding type of space | N/A | N/A | Select corresponding type of space | N/A | N/A | LED | 2024
| N/A | N/A |  | N/A | N/A |  | N/A | N/A |  | N/A | N/A |  | N/A | N/A | T5 | 2021
Atrium / Foyer with headroom over 5m | 17 | N/A | Atrium / Foyer with headroom over 5m | 17 | Yes | Atrium / Foyer with headroom over 5m | 17 | Yes | Activity Room / Children Play Area / Music Room / Recreational Facilities Room | 9.5 | Yes | Activity Room / Children play area / Music Room / Recreational Facilities Room | 9.5 | Yes | T8 | 2018
Bar / Lounge | 14 | N/A | Bar / Lounge | 14 | No | Bar / Lounge | 13 | No | Atrium / Foyer with headroom over 5m | 17 | Yes | Atrium / Foyer with headroom over 5m | 17 | Yes | T12 | 2015
Banquet Room / Function Room / Ball Room | 20 | N/A | Banquet Room / Function Room / Ball Room | 20 | No | Banquet Room / Function Room / Ball Room | 17 | No | Babycare Room / Breastfeeding Room / Lactation Room | 9.7 | Yes | Babycare Room / Breastfeeding Room / Lactation Room | 9.7 | Yes | CFL | 2012
Canteen | 11 | N/A | Canteen | 11 | No | Canteen | 11 | No | Bar / Lounge | 13 | No | Bar / Lounge | 10 | No | Tungsten
Car Park | 5 | N/A | Car Park | 5 | Yes, at parking spaces only | Car Park | 5 | Yes, at parking spaces only | Banquet Room / Function Room / Ball Room | 17 | No | Banquet Room / Function Room / Ball Room | 12.7 | No | Discharge
Classroom / Lecture Theatre / Training Room | 13 | N/A | Classroom / Training Room | 12 | Yes | Changing Room/ Locker Room | 10 | Yes | Canteen | 9.5 | No | Canteen | 9.5 | No
Clinic | 15 | N/A | Clinic | 15 | No | Classroom / Training Room | 15 | Yes | Car Park | 4 | Yes, at parking spaces only | Car Park | 3 | Yes, at parking spaces only
Conference / Seminar Room | 14 | N/A | Computer Room / Data Centre | 12 | Yes | Clinic | 15 | No | Changing Room / Locker Room | 10 | Yes | Changing Room/ Locker Room | 8.1 | Yes
Corridor | 8 | N/A | Conference / Seminar Room | 15 | Yes | Common Room / Break Room | 8 | Yes | Classroom / Training Room | 9.1 | Yes | Classroom / Training Room | 9.1 | Yes
Dormitory / Quarters / Barrack | 8 | N/A | Corridor | 8 | Yes | Computer Room / Data Centre | 15 | Yes | Clinic | 15 | No | Clinic | 12.4 | No
Entrance Lobby | 14 | N/A | Court Room | 15 | No | Conference / Seminar Room | 12 | Yes | Common Room / Break Room | 8 | Yes | Common Room/ Break Room | 8 | Yes
Exhibition Hall / Gallery | 17 | N/A | Dormitory | 8 | Yes | Confinement Cell | 10 | No | Computer Room / Data Centre | 12.5 | Yes | Computer Room / Data Centre | 12.5 | Yes
Guest room in Hotel or Guesthouse | 13 | N/A | Entrance Lobby | 14 | Yes | Copy / Printing Room, Photocopy Machine Room | 14 | Yes | Conference / Seminar Room | 12.8 | Yes | Conference / Seminar Room | 10.6 | Yes
Gymnasium / Exercise Room | 13 | N/A | Exhibition Hall / Gallery | 17 | No | Corridor | 8 | Yes | Confinement Cell | 12 | No | Confinement Cell | 12 | No
Kitchen | 13 | N/A | Guest room in Hotel or Guesthouse | 13 | No | Court room | 15 | Yes | Copy / Printing Room, Photocopy Machine Room | 10 | Yes | Copy/ Printing Room, Photocopy Machine Room | 10 | Yes
Laboratory | 15 | N/A | Gymnasium / Exercise Room | 13 | Yes | Covered Playground (underneath building)/ Sky Garden | 12 | Yes | Corridor | 7 | Yes | Corridor | 6 | Yes
Library – Reading Area, Stack Area or Audio Visual Centre | 15 | N/A | Kitchen | 13 | No | Dormitory | 8 | Yes | Court Room | 15 | Yes | Court Room | 15 | Yes
Lift Car | 11 | N/A | Laboratory | 15 | No | Entrance Lobby | 13 | Yes | Covered Playground (underneath building) / Sky Garden | 12 | Yes | Covered Playground (underneath building)/ Sky Garden | 12 | Yes
Lift Lobby | 11 | N/A | Lecture Theatre | 13 | Yes | Exhibition Hall / Gallery | 15 | No | Dormitory | 6.2 | Yes | Dormitory | 6.1 | Yes
Loading & Unloading Area | 10 | N/A | Library – Reading Area, Stack Area or Audio Visual Centre | 15 | No | Fast Food / Food Court | 14 | No | Entrance Lobby | 11.5 | Yes | Entrance Lobby | 10 | Yes
Office | 13 | N/A | Lift Car | 11 | Yes | Guest room in Hotel or Guesthouse | 13 | No | Exhibition Hall / Gallery | 15 | Yes | Exhibition Hall / Gallery | 12 | Yes
Patient Ward / Day Care | 15 | N/A | Lift Lobby | 11 | Yes | Gymnasium / Exercise room | 11 | Yes | Fast Food / Food Court | 14 | No | Fast Food / Food Court | 12 | No
Plant Room / Machine Room / Switch Room | 11 | N/A | Loading & Unloading Area | 8 | Yes | Indoor Swimming Pool, for recreational or leisure purposes | 6 | No | Guest Room in Hotel or Guesthouse | 11.5 | No | Guest room in Hotel or Guesthouse | 9.9 | No
Public Circulation Area | 13 | N/A | Office, enclosed (Internal floor area at or below 15m²) | 13 | Yes | Kitchen | 13 | No | Gymnasium / Exercise Room | 9.5 | Yes | Gymnasium / Exercise Room | 9.5 | Yes
Railway Station - Concourse / Platform / Entrance / Adit / Staircase, with headroom not exceeding 5 m | 14 | N/A | Office, open plan or with internal floor area above 15m² | 12 | Yes | Laboratory | 15 | No | Indoor Swimming Pool, for recreational or leisure purposes | 15 | No | Indoor Swimming Pool, for recreational or leisure purposes | 15 | No
Railway Station - Concourse / Platform / Entrance / Adit / Staircase, with headroom over 5 m | 18 | N/A | Passenger Terminal Building – Arrival Hall / Departure Hall, with headroom not exceeding 5m | 14 | No | Lecture Theatre | 12 | Yes | Kitchen | 11.5 | No | Kitchen | 11.5 | No
Restaurant | 17 | N/A | Passenger Terminal Building – Arrival Hall / Departure Hall, with headroom over 5m | 18 | No | Library – Reading Area or Audio Visual Centre | 12 | No | Laboratory | 13.5 | No | Laboratory | 10.4 | No
Retail | 17 | N/A | Passenger Terminal Building – Passenger circulation area | 13 | No | Library – Stack Area | 9 | No | Lecture Theatre | 13 | Yes | Lecture Theatre | 13 | Yes
Seating Area inside Theatre / Cinema / Auditorium / Concert Hall / Arena | 10 | N/A | Patient Ward / Day Care | 15 | No | Lift Car | 11 | Yes | Library – Reading Area or Audio Visual Centre | 12 | Yes | Library – Reading Area or Audio Visual Centre | 10.2 | Yes
Sports Arena, Indoor, for recreational purpose | 17 | N/A | Plant Room / Machine Room / Switch Room | 10 | No | Lift Lobby | 10 | Yes | Library – Stack Area | 15 | Yes | Library – Stack Area | 12.7 | Yes
Staircase | 7 | N/A | Public Circulation Area | 13 | Yes | Loading & Unloading Area | 8 | Yes | Lift Car | 11 | Yes | Lift Car | 11 | Yes
Storeroom / Cleaner | 9 | N/A | Railway Station – Concourse / Platform / Entrance / Adit / Staircase, with headroom not exceeding 5 m | 14 | No | Long Stay Ward for elderly | 15 | No | Lift Lobby | 9.2 | Yes | Lift Lobby(*) | 7.5 | Yes
Toilet / Washroom / ShowerRoom | 11 | N/A | Railway Station – Concourse / Platform / Entrance / Adit / Staircase, with headroom over 5 m | 18 | No | Nurse Station | 13 | No | Loading & Unloading Area | 8 | Yes | Loading & Unloading Area | 8 | Yes
Workshop | 14 | N/A | Refuge Floor | 11 | Yes | Office, enclosed (with internal floor area at or below 15m2) | 12 | Yes | Long Stay Ward for Elderly | 15 | No | Long Stay Ward for elderly | 12.9 | No
|  |  | Restaurant | 17 | No | Office, with internal floor area above 15m2 and of or below 200m2 | 10 | Yes | Medical Examination Room | 15 | No | Medical Examination Room | 12.3 | No
|  |  | Retail | 17 | No | Office, with internal floor area above 200m2 | 9 | Yes | Nurse Station | 13 | No | Nurse Station | 13 | No
|  |  | School hall | 14 | Yes | Pantry | 12 | Yes | Office, enclosed (with internal floor area at or below 15m²) | 9.5 | Yes | Office, enclosed (with internal floor area at or below 15m2) | 9 | Yes
|  |  | Seating Area inside Theatre / Cinema / Auditorium / Concert Hall / Arena | 10 | No | Passenger Terminal Building - Arrival Hall / Departure Hall, with headroom not exceeding 5m | 14 | No | Office, with internal floor area above 15m² and of or below 200m² | 8.9 | Yes | Office, with internal floor area above 15m2 and of or below 200m2 | 8.5 | Yes
|  |  | Server Room / Hub Room | 10 | No | Passenger Terminal Building - Arrival Hall / Departure Hall, with headroom over 5m | 18 | No | Office, with internal floor area above 200m² | 7.8 | Yes | Office, with internal floor area above 200m2 | 7.2 | Yes
|  |  | Sports Arena, Indoor, for recreational purpose | 17 | No | Passenger Terminal Building - Passenger circulation area | 13 | No | Pantry | 10.2 | Yes | Pantry | 8.5 | Yes
|  |  | Staircase | 7 | No | Patient Ward / Day Care | 13 | No | Passenger Terminal Building | 14 | No | Passenger Terminal Building - Arrival Hall / Departure Hall, with headroom not exceeding 5m | 14 | No
|  |  | Storeroom / Cleaner | 9 | Yes | Plant Room / Machine Room / Switch Room | 10 | No | Patient Ward / Day Care | 13 | No | Passenger Terminal Building - Arrival Hall / Departure Hall, with headroom over 5m | 18 | No
|  |  | Toilet / Washroom / Shower Room | 11 | Yes (occupant sensing control not applicable) | Porte Cochere | 13 | No | Pharmacy Area | 17 | No | Passenger Terminal Building - Passenger circulation area | 13 | No
|  |  | Workshop | 13 | No | Porte Cochere with headroom over 5m | 15 | No | Plant Room / Machine Room / Switch Room (with internal floor area at or below 15m²) | 9.5 | No | Patient Ward / Day Care | 11.2 | No
[6 empty] | Public Circulation Area | 13 | Yes | Plant Room / Machine Room / Switch Room (with internal floor area above 15m²) | 8.8 | No | Pharmacy Area | 17 | No
[6 empty] | Railway Station - Concourse / Platform / Entrance / Adit / Staircase, with headroom not exceeding 5 m | 14 | No | Porte Cochere | 13 | No | Plant Room / Machine Room / Switch Room (with internal floor area at or below 15m2) | 9.5 | No
[6 empty] | Railway Station - Concourse / Platform / Entrance / Adit / Staircase, with headroom over 5 m | 18 | No | Porte Cochere with headroom over 5m | 15 | No | Plant Room / Machine Room / Switch Room (with internal floor area above 15m2) | 8.4 | No
[6 empty] | Refuge Floor | 11 | Yes | Public Circulation Area | 11.5 | Yes | Porte Cochere | 13 | No
[6 empty] | Restaurant | 17 | No | Railway Station | 14 | No | Porte Cochere with headroom over 5m | 15 | No
[6 empty] | Retail | 16 | No | Refuge Floor | 11 | Yes | Public Circulation Area | 9.9 | Yes
[6 empty] | School hall | 14 | Yes | Report Room (Police Station) | 8.9 | No | Railway Station - Concourse / Platform / Entrance / Adit / Staircase, with headroom not exceeding 5 m | 14 | No
[6 empty] | Seating Area inside Theatre / Cinema / Auditorium / Concert Hall / Arena | 10 | No | Restaurant | 13.6 | No | Railway Station - Concourse / Platform / Entrance / Adit / Staircase, with headroom over 5 m | 18 | No
[6 empty] | Server Room / Hub Room | 10 | No | Retail | 13.4 | No | Refuge Floor | 11 | Yes
[6 empty] | Sports Arena, Indoor, for recreational purpose | 17 | No | School Hall | 12.5 | Yes | Report Room (Police Station) | 8.9 | No
[6 empty] | Staircase | 7 | No | Seating Area inside Theatre / Cinema / Auditorium / Concert Hall / Arena | 10 | No | Restaurant | 12 | No
[6 empty] | Storeroom / Cleaner | 9 | Yes | Security Room / Guard Room | 9 | No | Retail | 11.1 | No
[6 empty] | Toilet / Washroom / Shower Room | 11 | Yes | Spa Room / Massage Room | 13 | No | School hall | 12.5 | Yes
[6 empty] | Workshop | 13 | No | Server Room / Hub Room | 8.9 | No | Seating Area inside Theatre / Cinema / Auditorium / Concert Hall / Arena | 10 | No
[9 empty] | Sports Arena, Indoor, for recreational purpose | 17 | No | Security Room / Guard Room | 9 | No
[9 empty] | Staircase | 6 | No | Spa Room / Massage Room | 13 | No
[9 empty] | Storeroom / Cleaner | 7.9 | Yes | Server Room / Hub Room | 8.2 | No
[9 empty] | Toilet / Washroom / Shower Room | 9.7 | Yes | Sports Arena, Indoor, for recreational purpose - with internal floor area at or below 1,000m2 | 16 | Yes
[9 empty] | Workshop | 11.5 | No | Sports Arena, Indoor, for recreational purpose - with internal floor area above 1,000 m2 | 17 | Yes
[12 empty] | Staircase | 5.6 | No
[12 empty] | Storeroom / Cleaner - with internal floor area at or below 15m2 | 7.4 | Yes
[12 empty] | Storeroom / Cleaner - with internal floor area above 15m2 | 6.3 | Yes
[12 empty] | Toilet / Washroom / Shower Room(*) | 9 | Yes
[12 empty] | Workshop | 9.4 | No