## Master
Master Information Index (MII) for BIM models and Drawings
To be input by the Contractor (PDF drawing should be input with individual row as separate file) | [8 empty] | to be filled by CDE (Do not manually edit) | [5 empty] | to be filled by CDE based on user's selection of metadata during uploading to CDE, to be verified by uploader
File Name | Document Type | File format | Sheet Number | Description / Sheet name | Rev. | Sheet Size | Scale | Natvie file | CDE Path -Native | Folder Path | File ID (Unique) Auto-generate once uploaded to AIMP | File version in CDE | Author / User Account (Account in AIMP) | Last update | System (auto-fill based on folder path of file) | Equipment (Optional) | Level | Block
HKCH-EMS-NA_BD-BLK1_01-BS_HA-M3_E.rvt | 3D model | Revit | N/A | Building Block 1 (Level 01) Building Services (Heating, ventilation, and air conditioning) 3D Model File of NA (Existing, to remain) | A | N/A | N/A |  | https://cde.bim.emsd.gov.hk/my/ | \20_As-built\21 BIM\2104 HVAC\Revit |  |  | EMSD | 2022-05-05 10:20 | HVAC
HKCH-EMS-NA_BD-XX-ZZ-CM-N.nwd | 3D model | Navisworks | N/A | Master model | A | N/A | N/A |  | https://cde.bim.emsd.gov.hk/my/ | \20_As-built\21 BIM\Navisworks |  |  | EMSD | 2022-05-05 10:20 | Architectural
HKCH-EMS-AR-GBP-L01.pdf | Statutory submission | PDF | A101 | General Building Plan - First Floor | A | A1 | 1:100 |  | https://cde.bim.emsd.gov.hk/my/ | \20_As-built\28 PDF |  |  | EMSD | 2022-05-05 10:20 | Architectural
HKCH-EMS-NA_BD-BLK1_01-BS_HA-M3_E_H201.pdf | Layout Plan | PDF | H201 | First Floor Layout Plan of HVAC Installation | A | N/A | 1:100 | HKCH-EMS-NA_BD-BLK1_01-BS_HA-M3_E.rvt | https://cde.bim.emsd.gov.hk/my/ | \20_As-built\28 PDF |  |  | EMSD | 2022-05-05 10:20 | HVAC
HKCH-EMS-BLK1_01-BS_HA-M2_SCH.dwg | Schematics | AutoCAD | H301 | Air-side Schematic Diagram of HVAC Installation | A | N/A | NTS |  | https://cde.bim.emsd.gov.hk/my/ | \20_As-built\22 CAD\2204 HVAC\ |  |  | EMSD | 2022-05-05 10:20 | HVAC
HKCH-EMS-BS_HA-M2_DETAILS.dwg | Installation Details | AutoCAD | N/A | Installation Details for HVAC Installation | A | A1 | 1:25 |  | https://cde.bim.emsd.gov.hk/my/ | \20_As-built\22 CAD\2204 HVAC\ |  |  | EMSD | 2022-05-05 10:20 | HVAC
HKCH-EMS-BS_HA-M2_DETAILS (Sheet 1 of 2).pdf | Installation Details | PDF | H401 | Installation Details of Water Cooled Chiller ( 1 of 2) | A | A1 | 1:25 | HKCH-EMS-BS_HA-M2_DETAILS.dwg | https://cde.bim.emsd.gov.hk/my/ | \20_As-built\28 PDF |  |  | EMSD | 2022-05-05 10:20 | HVAC
HKCH-EMS-BS_HA-M2_DETAILS (Sheet 1 of 2).pdf | Installation Details | PDF | H401 | Installation Details of Water Cooled Chiller ( 2 of 2) | A | A1 | 1:25 | HKCH-EMS-BS_HA-M2_DETAILS.dwg | https://cde.bim.emsd.gov.hk/my/ | \20_As-built\28 PDF |  |  | EMSD | 2022-05-05 10:20 | HVAC

## Data Val (MII)
Author/ User Account | System | Equipment (Optional Field) | Level | Block | Document Type
EMSD | Burglar Alarm & Security Installation (Access Control system) | All Equipment | Multiple Levels/Location | Multiple Block /SubLocation | General
| Architectural | No Equipment | No level/location applicable | Single Building Block | BIM Execution Plan
| Automatic Refuse Collection System | 2-Way Diverter | Ground Floor | Administration Building | method statement
| Audio System | 3-Way Diverter | Level 01 | Ancillary Block | Report
| Audio Video System | Audio Amplifier | Level 02 | Building | minutes / action notes
| Burglar Alarm & Security Installation (Burglar Alarm System) | Air Blower or Air Compressor | Level 03 | Staff Quarters | 2D model
| Boiler System | Air Circuit Breaker (ACB) | Level 04 | Footbridge | 3D model
| Burglar Alarm & Security Installation (Call Alarm System) | Air Cooled Chiller | Level 05 | Market | Combined Model
| Closed Circuit TV System | Access Controller | Level 06 | Office | Point cloud model
| Burglar Alarm & Security Installation (CCTV and Intercom System) | Access Control System (^) | Level 07 | Playground | Lightweight BIM model
| Burglar Alarm & Security Installation (Drop-arm Barrier) | Audio Equalizer | Level 08 | Subway | Photo
| Drainage System | Accessories | Level 09 | Car Park | Catalogues
| Electrical Distribution System | Automatic Fire Detection and Alarm System (^) | Level 10 | Management Office Building | T&C Material
| Burglar Alarm & Security Installation (Electric Lock System) | Blower (for Anaesthetic Gas Scavenging System) | Level 11 | Service Block | General O&M Documentation
| Emergency Generator | Air Handling Unit | Level 12 | Toilet | Asset Relationship / Topology
| Filtration Plant | Audio Loudspeaker | Level 13 | Visitor Centre | information exchange file
| Fire Services Installation | Alternator | Level 14 | East Wing | Statutory submission
| High Voltage Power Supply | Audio Microphone | Level 15 | North Wing
| HVAC | Audio Mixer | Level 16 | South Wing
| Internet-of-thing Installation (IoT) | Channel Amplifier/Amplifier | Level 17 | West Wing
| Burglar Alarm & Security Installation (Keypad Lock System) | Audio Miscellaneous (including antenna, combiner, converter, IR emitter, IR receiver, processor, simultaneous interpretation system, sound box, UPS, transcriber etc.) | Level 18 | Block 1
| Water Leakage Detection System | Annunciator | Level 19 | Block 2
| Lift & Escalator | Antenna | Level 20 | Tower 1
| Lighting System | Air Treatment System ( including air purifier) | Level 21 | Tower 2
| LV Switchboards | Automatic Refuse Collection System (^) | Level 22
| Medical Gas System | Automatic Refuse Collection System Compactor | Roof
| Mechanical Handling & Lifting Installation | Automatic Refuse Collection System Container | Top Roof
| Microwave Link System | Automatic Refuse Collection System Exhauster | 1st Mezzanine Floor
| Private Automatic Branch Exchange System | Air Release Valve (for filtration tanks) | 2nd Mezzanine Floor
| Plumbing System | Air Side (^) | Basement level 1
| Pneumatic Tube Transport | Alarm Siren/Bell | Basement level 2
| Radar & Navigation System | Auto-strainer | Basement level 3
| Radio System | Automatic Transfer Switch | Basement level 4
| Burglar Alarm & Security Installation (Smart Card System) | Audio System (^) | Basement level 5
| Structural | Audio Video System (^) | Basement level 6
| Broadcast Reception Installations | Audio/ Visual Advisory System | Lower Fround Floor 1
| Timing & Display System | Audio / Video Product | Upper Ground Floor 1
| UPS | Backup Battery
| Broadcast Reception Installations | Barrier Gate (e.g. Vehicle Road Blocker )
| Burglar Alarm & Security Installation (Videophone System) | Burglar Alarm System (^)
| No Volume/System | Battery
| All Volume/System | Battery Charger
Battery System
Boiler Feed Pump
Boiler System (^)
Blower Unit
Building Management System
Booster Pump
Base Radio/Repeater (including transmitter, receiver, transceiver bi-directional amplifier etc.)
Button
Card Accessories Controller
Calorifier
Camera
Capacitor
Card Reader
Call Alarm System (^)
Constant Air Volume Box
Central Control and Monitoring System (CCMS) (e.g. DDC)
CCTV System (^) (Note 8)
CCTV and Intercom System (^)
Central Control Unit
Chemical Dosing Pump (including the application for NaOCl, Soda, ALUM, Acid and Brine)
Chairman Unit
Chilled Water Pump
Computer
Compressor (including those for medical air and surgical air)
Converter (including programmable controller)
Console/ Server (e.g. workstation)
Control Panel
Cooling Tower
Control Unit
Circulation Pump
Computer Room Air Conditioner and Handler (CRAC)
Card Reader Control
Cold Room/Store (^) (Note 9)
Cooling Tower Bleed Off Pump
Controller
Controller Analyser and Sensor (including those sensors for measuring ppm, mV, PH, °C and ORP)
Current Transformer Sensor
Control Unit / Server
Condensing Water Pump
Drop-arm Barrier(^)
Detector (including infrared magnetic loop etc.)
Delegate Unit
Water Filter for Drinking Fountain
Dehumidifier
Diesel Boiler
Diesel Engine
Distance Sensor
Distribution Amplifier
Display Unit
Display and processing unit
Drainage System (^)
Door Release Button
Dumping Station
Distribution Board
Duplex Multiplexer
Multi Channel DVR / NVR
Drencher Pump
DX Unit (including split-type DX units, VRV outdoor units, single packaged units)
Exhaust Air Fan
Empty Carrier Storage Station
Electric Heater
Electrical Distribution System (^)
Electric Boiler
Electro-Chlorinator System
Electric Lifts (including the application for passenger lift, good lift, freight lift, vehicle lift, platform lift, stair-lift and dumbwaiter)
Electric Lock System (^)
Energy Meter
Emergency Breakglass
Escalators / Passenger Conveyors
Equalizer
Exit sign & Directional sign
Extender
Extension Speaker
Fire Alarm equipment (including manual call point, smoke detector, flashing lighting, alarm siren, alarm bell, heat detector, optical beam smoke detector, multi-sensor detector, fire alarm panel and aspirating smoke detection equipment)
Fresh Air Fan
Fan Coil Unit
Fire Damper
Fire Service Intermediate Booster Pump
Filtration Tank (including those sand tanks, carbon tanks and reaction tanks.)
Fire Service Jockey Pump
Flushing Water Pump
Filtration Plant (^)
Fuel Pump
Fire Service Pump (e.g. FH/HR pump)
Fuse switch & Switch fuse
Fuel Tank
Fresh Water Pump
Gas boiler
Gas Heater
Gas cylinder and equipment (including gas cylinders, control panels and discharge nozzles for CO2, FM200, NAFS III and Novec 1230 system)
Gas detector and equipment (including CO2 gas detector, hydrogen gas detector, ammonia gas detector, ozone gas detector and gas detection control panel)
Gas Detection System (^)
Generator (^) (Note 9)
Gondola (*)
Gas Suppression System (^)
IoT Gateway
Handset
Harmonic Filter
Heat Exchanger
Heat Pump Type Chiller
Humidifier
High Voltage Power Supply System (^)
HV Switchboards
Energy Recovery Unit (e.g. Heat Wheel)
Hot water boiler
Heating Water Pump
Hydraulic Lifts (including the application for passenger lift, good lift, freight lift, vehicle lift, platform lift, stair-lift and dumbwaiter)
Air Quality Sensor
VRV-IDU
Intercom Master Station
Intrusion Detector (including electro-magnetic contact, wide angle duet tech detector, dual tech motion detector etc.)
Intercom (including door phone system, intercom door station and intercom master station etc.)
Intercom (including handset with release button)
Interpreter Unit
Intercom Slave Station
Isolating switch
Jet Fan
Keypad
Keypad Lock System (^)
Kitchen Mortuary Fan
Loop Amplifier
Lock/Button/Switch (including door release button, electro-magnetic lock, alarm shunt key switch etc.)
Lighting Control System (including Control panel, room controller, partition controller, Digital Addressable Lighting Interface (DALI) Workstation, lighting controller, relay controller)
Lock Control Unit
Leak Detection Panel
Water Leakage Detection System (^)
Water Leakage Sensor
Lift and Escalator (^)
Light Sensor
Local Motor Control Panel (*)
Location Tracker
Loudspeaker
Light / Photo Sensor
Lighting System (^)
Luminaire (including external and exterior lighting and signs)
Level Detection Sensor
LV Switchboard (^) (Note 9)
Magnetic Door Sensor
Manifold (including those for O2, N2O, MA4, SA7 and compressed air)
Matrix Switcher
Miniature Circuit Breaker (MCB)
Motor Control Center (MCC)
Moulded Case Circuit Breaker (Open Space)
Master Clock Unit
Main motorized/ modulating control valve
Medical Gas System (^)
Mechanical Handling & Lifting Installation (^)
Microphone
Miscellaneous (^)
Mixer
Microwave Link System (^)
Motor
Motion and Occupancy Sensor
Misc. Swimming Pool Equipment (e.g. electric valve)
Master Workstation
Network Equipment (including switch, hub, router etc.)
Network Switch/ Console/ PBX Server
Operator Control Console / Workstation, PC
Occupancy Sensor
Ozone Generator System
Preamplifier
Panel
Primary Air Handling Unit
People Counting Sensor
PC Workstation
Power Distribution Unit (PDU)
Portable Equipment (^)
Portable fire extinguisher (including all type of fire extinguishers, fire blanket and sand bucket)
Plumbing System (^)
Player
Power Management Unit (including control room charge, telephone link charge, power supply unit & battery and UPS for DVR etc.)
Power Management Unit
Power Supply (e.g. UPS, DC power supply)
Power Pack
Power Quality and Energy Management System (PQEMS)
Proximity Card
Printer
Projectoring Product (including LCD projector, visualizer etc.)
Processing unit (including multiplexer, modulator etc.)
Pressure Reducing Valve
Pneumatic Tube Transport (^)
Solar Photovoltaic (PV) System (including PV panels, control panel, inverter, battery and isolation transformer)
Pressure Vessel
Portable Water Pump
Pressurized Water System
Private Automatic Branch Exchange System (^)
Queue Management Unit (including public kiosk, counter keypad etc.)
Radio Terminals
Residual Current Circuit Breaker with Overcurrent Protection (RCBO)
Residual Current Device (RCD)
Room Cooler
Recorder
Receiver (including satellite receiver, RF modulator, amplifier etc.)
Receiver/ Reservoir (including those for medical air and surgical air)
Remote Release Button Receiver
RF Interface Unit (including duplexer, coupler combiner, exciter, filter, splitter etc.)
Radar and Navigation System (^)
Radio System (^)
Rainwater Sump Pump
Screen/Monitor
Smart Card System (^)
Step Down Transfomer
Internet-of-thing Installation-Sensor (^)
Sensing Unit
Sprinkler Booster Pump
Sprinker Jockey pump
Waste Water Sump Pump
Sprinkler control valve set & accessories (including sprinkler control valve set, sprinkler subsidiary valve, pre-action recycling sprinkler control valve set, air compressor, dry alarm sprinkler control valve, foam-water sprinkler control valve set)
Splitter
Sprinkler Pump
Sending and Receiving Station
Station (including master station and door station etc.)
Steam boiler
Static Transfer Switch
Satellite TV System (^)
Switch (including the switches for HDMI, VGA, DVI, multimedia etc.)
Sea Water Pump
Soil and Waste Water Sump Pump
Transfer Air Fan
Travelling Band Screen
T-coil (Hearing Aid)
Tube Cleaning System
Timing & Display System (^)
Transfer Pump
Transceiver
Turnstiles
Turning unit
Ultraviolet Sterilizer
Uninterruptible Power Supply (UPS)
Undervolt Relay
UHF TV System (^)
Video & Audio Equipment (including monitor, camera, extender, switch/ splitter/ matrix, video player etc.)
Variable Air Volume Box
Video Display Unit
Vibration Sensor
Video camera
Oxygen VIE Tank
Video Matrix
Video Recorder
Video Switcher
Voice logger
Vehicle Occupancy Sensor
Vacuum Pump
Videophone Control
Videophone System (^)
Variable Speed Drives
Venturi Valve
Water Cooled Chiller
Wet System (^)
Workstation Unit
Water Side (^)
Water Scrubber