## Admin
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Water System | 100 |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Water System | 100 |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data |  | 40 |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment. | Text | Data |  | 18 |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.FS.Equipment Type | Equipment Type | Text | Data | Pump |  |  | M
| EMSD.FS.Head | Head | Text | Data | 20 |  | m | M
| EMSD.FS.Make | Made by which company | Text | Data | ABCDEF |  |  | M
| EMSD.FS.Total capacity | Total capacity | Text | Data | 100 |  | kg | M
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Electrial
| EMSD.FS.Motor Power | Motor Power of pump | Power | Electrical -Loads | 400 |  |  | M
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Piping
| EMSD.FS.Water Flow | Water Flow | Flow | Mechanical -Flow | 30 |  | L/s | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 7.1 Water System
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | FS-1
Code (System - Equipment) |  | FS-WTS
System Type |  | Fire Services Installation - Wet System
Equipment Type |  | Wet System
Equipment Level |  | L1
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Water System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Water System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Wet System | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment. | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 7.1.1 Pump
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | FS-2
Code (System - Equipment) |  | FS-PMP
System Type |  | Fire Services Installation - Wet System
Equipment Type |  | Pump
Equipment Level |  | L2
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Water System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Water System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Pump | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment. | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.FS.Equipment Type | Equipment Type | Text | Data | Pump |  |  |  | M
| EMSD.FS.Head | Head | Text | Data | 20 |  |  | m | M
| EMSD.FS.Total capacity | Total capacity | Text | Data | 100 |  |  | kg | M
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Electrial
| EMSD.FS.Motor Power | Motor Power of pump | Power | Electrical -Loads | 400 |  |  |  | M
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Piping
| EMSD.FS.Water Flow | Water Flow | Flow | Mechanical -Flow | 30 |  |  | L/s | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 7.1.2 Sprinkler Control valve
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | FS-3
Code (System - Equipment) |  | FS-SCV
System Type |  | Fire Services Installation - Wet System
Equipment Type |  | Sprinkler control valve set & accessories
Equipment Level |  | L2
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Water System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Water System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Sprinkler control valve set & accessories | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment. | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.FS.Equipment Type | Equipment Type | Text | Data | Pump |  |  |  | M
| EMSD.FS.Make | Made by which company | Text | Data | ABCDEF |  |  |  | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 7.2 Auto Fire Detection & Alam
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | FS-4
Code (System - Equipment) |  | FS-AFA
System Type |  | Fire Services Installation - Automatic Fire Detection and Alarm System
Equipment Type |  | Automatic Fire Detection and Alarm System
Equipment Level |  | L1
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Water System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Water System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Automatic Fire Detection and Alarm System | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment. | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 7.2.1 Fire Alam Equipment
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | FS-5
Code (System - Equipment) |  | FS-FAE
System Type |  | Fire Services Installation - Automatic Fire Detection and Alarm System
Equipment Type |  | Fire Alarm Equipment
Equipment Level |  | L2
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Water System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Water System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Fire Alam Equipment | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment. | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.FS.Equipment Type | Equipment Type | Text | Data | Pump |  |  |  | M
| EMSD.FS.Make | Made by which company | Text | Data | ABCDEF |  |  |  | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 7.2.2 Audio_Visual
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | FS-6
Code (System - Equipment) |  | FS-AVA
System Type |  | Fire Services Installation - Automatic Fire Detection and Alarm System
Equipment Type |  | Audio/ Visual Advisory System
Equipment Level |  | L2
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Water System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Water System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Audio Advisory System | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment. | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.FS.Make | Made by which company | Text | Data | ABCDEF | 0 | 0 |  | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 7.3 Gas Suppression System
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | FS-7
Code (System - Equipment) |  | FS-GSS
System Type |  | Fire Services Installation - Gas Suppression System
Equipment Type |  | Gas Suppression System
Equipment Level |  | L1
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Water System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Water System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Gas Suppression System | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment. | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 7.3.1 Gas Cylinder and Equipmen
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | FS-8
Code (System - Equipment) |  | FS-GCE
System Type |  | Fire Services Installation - Gas Suppression System
Equipment Type |  | Gas cylinder and equipment
Equipment Level |  | L2
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Water System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Water System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Gas cylinder and equipment | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment. | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.FS.Equipment Type | Equipment Type | Text | Data | Pump | 0 | 0 |  | M
| EMSD.FS.Make | Made by which company | Text | Data | ABCDEF | 0 | 0 |  | M
| EMSD.FS.Total capacity | Total capacity | Text | Data | 100 | 0 | 0 | kg | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 7.4 Portable Equipment
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | FS-9
Code (System - Equipment) |  | FS-PE
System Type |  | Fire Services Installation - Portable Equipment
Equipment Type |  | Portable Equipment
Equipment Level |  | L1
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Water System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Water System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Portable Equipment | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment. | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 7.4.1 Portable Fire Extinguishe
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | FS-10
Code (System - Equipment) |  | FS-PFE
System Type |  | Fire Services Installation - Portable Equipment
Equipment Type |  | Portable fire extinguisher
Equipment Level |  | L2
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Water System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Water System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Portable fire extinguisher | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment. | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.FS.Make | Made by which company | Text | Data | ABCDEF | 0 | 0 |  | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 7.5 Gas Detection System
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | FS-11
Code (System - Equipment) |  | FS-GDS
System Type |  | Fire Services Installation - Gas Detection System
Equipment Type |  | Gas Detection System
Equipment Level |  | L1
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Water System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Water System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Gas Detection System | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment. | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 7.5.1 Gas Detector and equipmen
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | FS-12
Code (System - Equipment) |  | FS-GDE
System Type |  | Fire Services Installation - Gas Detection System
Equipment Type |  | Gas detector and equipment
Equipment Level |  | L2
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Water System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Water System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Gas detector and equipment | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment. | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.FS.Make | Made by which company | Text | Data | ABCDEF | 0 | 0 |  | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 7.6 Exit & Directional Sign
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | FS-13
Code (System - Equipment) |  | FS-EXS
System Type |  | Fire Services Installation - Exit sign & Directional sign
Equipment Type |  | Exit sign & Directional sign
Equipment Level |  | L1
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Water System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Water System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Exit sign & Directional sign | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment. | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment