## Admin
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\Audio Electronics System | 100 |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\UPS\Battery System | 100 |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data |  | 40 |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment | Text | Data |  | 18 |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Radio.Equipment Location | Equipment Location | Text | Data | AHUR |  |  | M
| EMSD.Radio.Operating System | Operating System | Text | Data | Windows XP | N/A |  | M
| EMSD.Radio.PC and Monitor Make | PC & Monitor Make | Text | Data | PC: HP Monitor: Samsung |  |  | M
| EMSD.Radio.Console Software | Console Software | Text | Data |  | 30 |  | O
| EMSD.Radio.Mounting | Mounting | Text | Data | Wall mount / Rack mount | N/A |  | O
| EMSD.Radio.Recording Media | Recording Media | Text | Data | Tape / Flash memory card | N/A |  | O
| EMSD.Radio.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  | O
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Radio.Frequency Band | Frequency Band | Text | Data | VHF / UHF | N/A |  | M
| EMSD.Radio.Make | Made by which company | Text | Data | ABC Company | N/A |  | M
| EMSD.Radio.System Nature | System Nature | Text | Data | Two-way radio / TETRA | N/A |  | M
| EMSD.Radio.Battery Back-up Time | Battery Back-up Time | Text | Data | 4 hours | N/A |  | O
| EMSD.Radio.Equipment Type | Equipment Type | Text | Data |  | N/A |  | O
| EMSD.Radio.Gain | Gain | Text | Data | 10 dBi | 30 |  | O
| EMSD.Radio.Model | Model of the equipment | Text | Data | 900MK2 | 30 |  | O
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Electrical
| EMSD.Radio.Nominal Output Power | Nominal Output Power | Power | Electrical -Loads | 25 W | N/A | W | O
| EMSD.Radio.Transmitter power | Transmitter power | Power | Electrical -Loads | 1 W |  |  | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 15 Radio System
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | RS-1
Code (System - Equipment) |  | RS-RS
System Type |  | Radio System
Equipment Type |  | RS
Equipment Level |  | L1
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\Audio Electronics System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data |  | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\UPS\Battery System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Radio System | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 15.1 BaseRadio Repeater
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | RS-2
Code (System - Equipment) |  | RS-BRR
System Type |  | Radio System
Equipment Type |  | Base Radio / Repeater
Equipment Level |  | L2
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\Audio Electronics System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\UPS\Battery System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Transceiver | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Radio.Mounting | Mounting | Text | Data | Wall mount / Rack mount | N/A |  |  | O
| EMSD.Radio.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Radio.Frequency Band | Frequency Band | Text | Data | VHF / UHF | N/A |  |  | M
| EMSD.Radio.Make | Made by which company | Text | Data | ABC Company | N/A |  |  | M
| EMSD.Radio.System Nature | System Nature | Text | Data | Two-way radio / TETRA | N/A |  |  | M
| EMSD.Radio.Equipment Type | Equipment Type | Text | Data | Repeater | N/A |  |  | O
| EMSD.Radio.Model | Model of the equipment | Text | Data | 900MK2 | 30 |  |  | O
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Electrical
| EMSD.Radio.Nominal Output Power | Nominal Output Power | Power | Electrical -Loads | 25 W | N/A |  | W | O
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 15.2 RF Interface Unit
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | RS-3
Code (System - Equipment) |  | RS-RIU
System Type |  | Radio System
Equipment Type |  | RF Interface Unit
Equipment Level |  | L2
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\Audio Electronics System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\UPS\Battery System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | RF Interface | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Radio.Mounting | Mounting | Text | Data | Wall mount / Rack mount | N/A |  |  | O
| EMSD.Radio.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Radio.Make | Made by which company | Text | Data | ABC Company | N/A |  |  | M
| EMSD.Radio.Equipment Type | Equipment Type | Text | Data | Interface Unit | N/A |  |  | O
| EMSD.Radio.Model | Model of the equipment | Text | Data | 900MK2 | 30 |  |  | O
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 15.3 Antenna
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | RS-4
Code (System - Equipment) |  | RS-ANT
System Type |  | Radio System
Equipment Type |  | Antenna
Equipment Level |  | L2
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\Audio Electronics System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\UPS\Battery System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Antenna | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Radio.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Radio.Make | Made by which company | Text | Data | ABC Company | N/A |  |  | M
| EMSD.Radio.Equipment Type | Equipment Type | Text | Data | Antenna | N/A |  |  | O
| EMSD.Radio.Gain | Gain | Text | Data | 10 dBi | 30 |  |  | O
| EMSD.Radio.Model | Model of the equipment | Text | Data | 900MK2 | 30 |  |  | O
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 15.4 Power Supply
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | RS-5
Code (System - Equipment) |  | RS-POS
System Type |  | Radio System
Equipment Type |  | Power Supply
Equipment Level |  | L2
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\Audio Electronics System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\UPS\Battery System | 100 |  | 0 | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  | 0 | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Power Supply | 40 |  | 0 | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  | 0 | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment | Text | Data |  | 18 |  | 0 | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  | 0 | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  | 0 | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  | 0 | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  | 0 | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  | 0 | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Radio.Mounting | Mounting | Text | Data | Wall mount / Rack mount | N/A | 0 | 0 | O
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Radio.Make | Made by which company | Text | Data | ABC Company | N/A | 0 | 0 | M
| EMSD.Radio.Battery Back-up Time | Battery Back-up Time | Text | Data | 4 hours | N/A | 0 | 0 | O
| EMSD.Radio.Equipment Type | Equipment Type | Text | Data | Power Supply | N/A | 0 | 0 | O
| EMSD.Radio.Model | Model of the equipment | Text | Data | 900MK2 | 30 | 0 | 0 | O
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 15.5 Console
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | RS-6
Code (System - Equipment) |  | RS-CONS
System Type |  | Radio System
Equipment Type |  | Console
Equipment Level |  | L2
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\Audio Electronics System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data |  | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\UPS\Battery System | 100 |  | 0 | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  | 0 | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Console | 40 |  | 0 | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  | 0 | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment | Text | Data |  | 18 |  | 0 | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  | 0 | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  | 0 | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  | 0 | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  | 0 | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  | 0 | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Radio.Operating System | Operating System | Text | Data | Windows XP | N/A |  | 0 | M
| EMSD.Radio.Console Software | Console Software | Text | Data |  | 30 |  | 0 | O
| EMSD.Radio.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  | 0 | O
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Radio.Make | Made by which company | Text | Data | ABC Company | N/A |  | 0 | M
| EMSD.Radio.Equipment Type | Equipment Type | Text | Data | Console | N/A |  | 0 | O
| EMSD.Radio.Model | Model of the equipment | Text | Data | 900MK2 | 30 |  | 0 | O
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 15.6 Voice Logger
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | RS-7
Code (System - Equipment) |  | RS-VLO
System Type |  | Radio System
Equipment Type |  | Voice Logger
Equipment Level |  | L2
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\Audio Electronics System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\UPS\Battery System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Voice logger | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Radio.Recording Media | Recording Media | Text | Data | Tape / Flash memory card | N/A |  | 0 | O
| EMSD.Radio.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  | 0 | O
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Radio.Make | Made by which company | Text | Data | ABC Company | N/A |  | 0 | M
| EMSD.Radio.Equipment Type | Equipment Type | Text | Data | Voice Logger | N/A |  | 0 | O
| EMSD.Radio.Model | Model of the equipment | Text | Data | 900MK2 | 30 |  | 0 | O
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 15.7 Network Equipment
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | RS-8
Code (System - Equipment) |  | RS-NEE
System Type |  | Radio System
Equipment Type |  | Network Equipment
Equipment Level |  | L2
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\Audio Electronics System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\UPS\Battery System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Network Equipment | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Radio.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Radio.Make | Made by which company | Text | Data | ABC Company | N/A |  |  | M
| EMSD.Radio.Equipment Type | Equipment Type | Text | Data | Network Equipment | N/A |  |  | O
| EMSD.Radio.Model | Model of the equipment | Text | Data | 900MK2 | 30 |  |  | O
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 15.8 Radio Terminals
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | RS-9
Code (System - Equipment) |  | RS-RAT
System Type |  | Radio System
Equipment Type |  | Radio Terminals
Equipment Level |  | L2
Version |  | 2
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\Audio Electronics System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\UPS\Battery System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Radio Terminals | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Radio.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Radio.Make | Made by which company | Text | Data | ABC Company | N/A |  |  | M
| EMSD.Radio.Equipment Type | Equipment Type | Text | Data | Radio Terminals | N/A |  |  | O
| EMSD.Radio.Model | Model of the equipment | Text | Data | 900MK2 | 30 |  |  | O
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Electrical
| EMSD.Radio.Transmitter power | Transmitter power | Power | Electrical -Loads | 1 W | 0 |  |  | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 15.9 Accessories
EMSD BIM-AM Asset Data Template
ADT Reference No. |  | RS-10
Code (System - Equipment) |  | RS-ACC
System Type |  | Radio System
Equipment Type |  | Accessories
Equipment Level |  | L2
Version |  | 2 | [8 empty] | 1 | RS-RS
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific | 2 | RS-BRR
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common | [10 empty] | 3 | RS-RIU
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N | 4 | RS-ANT
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y | 5 | RS-POS
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N | 6 | RS-CONS
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N | 7 | RS-VLO
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N | 8 | RS-NEE
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N | 9 | RS-RAT
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N | 10 | RS-ACC
| EMSD.Common.Authorization Group | Control if one can change the piece of equipment or create job and notification with reference to the equipment. | Text | Data | TS04 | 4 |  |  | M | Y
| EMSD.Common.Division | Division of the equipment | Text | Data | 05 PD | N/A |  |  | M | Y
| EMSD.Common.Equipment No. | EMSD CCS(SAP) Equipment No. | Text | Data | 19876000 | 8 |  |  | M | Y
| EMSD.Common.Main Work Centre | Default work centre for maintaining the Equipment. | Text | Data | MK14E80 | 8 |  |  | M | Y
| EMSD.Common.Partner ID | Short form (search form) of customer department. | Text | Data | CSD | 10 |  |  | M | Y
| EMSD.Common.Technical ID No. | Unique ID which is assigned by user | Text | Data | TEQ-150430-02 | 13 |  |  | M | Y
| EMSD.Common.Acquisition Value | The value of the equipment | Text | Data |  | 11 |  |  | O | Y
| EMSD.Common.CCS Equipment ID Superior | Equipment ID Superior | Text | Data | 19999999 | 18 |  |  | O | Y
| EMSD.Common.Customer Warranty End | Customer Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Customer Warranty Start | Customer Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Floor | Floor of the Equipment | Text | Data | 1st Floor | 30 |  |  | O | N
| EMSD.Common.Inventory No. | Capture the equipment ID in client's system | Text | Data |  | 25 |  |  | O | Y
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\Audio Electronics System | 100 |  |  | O | N
| EMSD.Common.Plant Section | Plant Section | Text | Data |  | 3 |  |  | O | N
| EMSD.Common.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O | N
| EMSD.Common.Start-up Date | Start-up Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
| EMSD.Common.Technical ID No. Superior | Technical ID No. Superior | Text | Data | TECHID-999999 | 13 |  |  | O | Y
| EMSD.Common.Vendor Warranty End | Vendor Warranty End Date of the equipment | Text | Data | 01.12.2000 | N/A |  |  | O | N
| EMSD.Common.Vendor Warranty Start | Vendor Warranty Start Date of the equipment | Text | Data | 01.12.1999 | N/A |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\UPS\Battery System | 100 |  |  | M | N
| EMSD.Common.Catalog Profile | The combination of Code Groups from different Catalogs | Text | Data | AC0000001 | 9 |  |  | M | Y
| EMSD.Common.Equipment Description | Description of the Equipment | Text | Data | Accessories | 40 |  |  | M | N
| EMSD.Common.Planner Group | Default depot or team for maintaining the Equipment. | Text | Data | T00 | 3 |  |  | M | Y
| EMSD.Common.Construction Type | Material Bill of Material (BOM) ID assigned to the Equipment | Text | Data |  | 18 |  |  | O | Y
| EMSD.Common.Currency | (must follow Currency Code List) | Text | Data |  | 5 |  |  | O | Y
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Manufacturer Country | Manufacturer Country of the equipment | Text | Data | China | N/A |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
| EMSD.Common.Weight | Weight of the equipment | Text | Data | 50kg | 10 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Radio.Serial No. | Serial number of the equipment | Text | Data | B12345678 | 30 |  |  | O
EQUIPMENT SPECIFIC ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Radio.Make | Made by which company | Text | Data | ABC Company | N/A |  |  | M
| EMSD.Radio.Equipment Type | Equipment Type | Text | Data | Accessories | N/A |  |  | O
| EMSD.Radio.Model | Model of the equipment | Text | Data | 900MK2 | 30 |  |  | O
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment