## Admin
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  | M | N
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Pneumatic Tube Transport | 100 |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Pneumatic Tube Transport | 100 |  | M | N
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.PTS.Air Volume | Air Volume | Text | Data | 50 | 30 | m3/min | M
| EMSD.PTS.Blower Unit No. | Blower Unit No. | Text | Data | 1800 | 10 |  | M
| EMSD.PTS.Capacity | Capacity | Text | Data | 600 | 10 | kW | M
| EMSD.PTS.Central Control Unit No. | Central Control Unit No. | Text | Data | 3 | 10 |  | M
| EMSD.PTS.Current | Current | Text | Data | 100 | 10 | A | M
| EMSD.PTS.Destination Address | Destination Address | Text | Data | EMSD HQ | 40 |  | M
| EMSD.PTS.Diverter No. | Diverter No. | Text | Data | No.2 | 10 |  | M
| EMSD.PTS.Dumping Station No. | Dumping Station No. | Text | Data | No.2 | 10 |  | M
| EMSD.PTS.Empty Carrier Storage Station No. | Empty Carrier Storage Station No. | Text | Data | No.8 | 10 |  | M
| EMSD.PTS.Equipment Location | Equipment Location | Text | Data | 9/F Compressed Air and Vacuum Plant Room | 40 |  | M
| EMSD.PTS.Input Voltage | Input Voltage | Text | Data | 60 | 10 | V | M
| EMSD.PTS.Output Voltage | Output Voltage | Text | Data | 45 | 10 | V | M
| EMSD.PTS.Power Pack No. | Power Pack No. | Text | Data | No.9 | 10 |  | M
| EMSD.PTS.Rotational Speed | Rotational Speed | Text | Data | 30 | 30 | U/min | M
| EMSD.PTS.Serving Zone No. | Serving Zone No | Text | Data | 3001 | 10 |  | M
| EMSD.PTS.Station No. | Station No. | Text | Data | No.3 | 10 |  | M
| EMSD.PTS.Voltage 50Hz | Voltage 50Hz | Text | Data | 80 | 10 | V | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 21 PTS
EMSD BIM-AM Asset Data Template (ADT)
ADT Reference No. |  | PTS-1
Code (System - Equipment) |  | PTS-PTS
System Type |  | Pneumatic Tube Transport
Equipment Type |  | /
Equipment Level |  | L1
Version |  | 2.0
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Pneumatic Tube Transport | 100 |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Pneumatic Tube Transport | 100 |  |  | M | N
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 21.1 S and R Station
EMSD BIM-AM Asset Data Template (ADT)
ADT Reference No. |  | PTS-2
Code (System - Equipment) |  | PTS-SRS
System Type |  | Pneumatic Tube Transport
Equipment Type |  | Sending and Receiving Station
Equipment Level |  | L2
Version |  | 2.0
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Pneumatic Tube Transport | 100 |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Pneumatic Tube Transport | 100 |  |  | M | N
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.PTS.Destination Address | Destination Address | Text | Data | EMSD HQ | 40 |  |  | M
| EMSD.PTS.Equipment Location | Equipment Location | Text | Data | 9/F Compressed Air and Vacuum Plant Room | 40 |  |  | M
| EMSD.PTS.Serving Zone No. | Serving Zone No | Text | Data | 3001 | 10 |  |  | M
| EMSD.PTS.Station No. | Station No. | Text | Data | No.3 | 10 |  |  | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 21.2 Blower Unit
EMSD BIM-AM Asset Data Template (ADT)
ADT Reference No. |  | PTS-3
Code (System - Equipment) |  | PTS-BLW
System Type |  | Pneumatic Tube Transport
Equipment Type |  | Blower Unit
Equipment Level |  | L2
Version |  | 2.0
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Pneumatic Tube Transport | 100 |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Pneumatic Tube Transport | 100 |  |  | M | N
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.PTS.Air Volume | Air Volume | Text | Data | 50 | 30 |  | m3/min | M
| EMSD.PTS.Blower Unit No. | Blower Unit No. | Text | Data | 1800 | 10 |  |  | M
| EMSD.PTS.Capacity | Capacity | Text | Data | 600 | 10 |  | kW | M
| EMSD.PTS.Current | Current | Text | Data | 100 | 10 |  | A | M
| EMSD.PTS.Equipment Location | Equipment Location | Text | Data | 9/F Compressed Air and Vacuum Plant Room | 40 |  |  | M
| EMSD.PTS.Rotational Speed | Rotational Speed | Text | Data | 30 | 30 |  | U/min | M
| EMSD.PTS.Serving Zone No. | Serving Zone No | Text | Data | 3001 | 10 |  |  | M
| EMSD.PTS.Voltage 50Hz | Voltage 50Hz | Text | Data | 80 | 10 |  | V | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 21.3 2-way Diverter
EMSD BIM-AM Asset Data Template (ADT)
ADT Reference No. |  | PTS-4
Code (System - Equipment) |  | PTS-2WD
System Type |  | Pneumatic Tube Transport
Equipment Type |  | 2-way Diverter
Equipment Level |  | L2
Version |  | 2.0
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Pneumatic Tube Transport | 100 |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Pneumatic Tube Transport | 100 |  |  | M | N
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.PTS.Diverter No. | Diverter No. | Text | Data | No.2 | 10 |  |  | M
| EMSD.PTS.Equipment Location | Equipment Location | Text | Data | 9/F Compressed Air and Vacuum Plant Room | 40 |  |  | M
| EMSD.PTS.Serving Zone No. | Serving Zone No | Text | Data | 3001 | 10 |  |  | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 21.4 3-way Diverter
EMSD BIM-AM Asset Data Template (ADT)
ADT Reference No. |  | PTS-5
Code (System - Equipment) |  | PTS-3WD
System Type |  | Pneumatic Tube Transport
Equipment Type |  | 3-way Diverter
Equipment Level |  | L2
Version |  | 2.0
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Pneumatic Tube Transport | 100 |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Pneumatic Tube Transport | 100 |  |  | M | N
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.PTS.Diverter No. | Diverter No. | Text | Data | No.2 | 10 |  |  | M
| EMSD.PTS.Equipment Location | Equipment Location | Text | Data | 9/F Compressed Air and Vacuum Plant Room | 40 |  |  | M
| EMSD.PTS.Serving Zone No. | Serving Zone No | Text | Data | 3001 | 10 |  |  | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 21.5 Storage Station
EMSD BIM-AM Asset Data Template (ADT)
ADT Reference No. |  | PTS-6
Code (System - Equipment) |  | PTS-ECS
System Type |  | Pneumatic Tube Transport
Equipment Type |  | Empty Carrier Storage Station
Equipment Level |  | L2
Version |  | 2.0
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Pneumatic Tube Transport | 100 |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Pneumatic Tube Transport | 100 |  |  | M | N
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.PTS.Empty Carrier Storage Station No. | Empty Carrier Storage Station No. | Text | Data | No.8 | 10 |  |  | M
| EMSD.PTS.Equipment Location | Equipment Location | Text | Data | 9/F Compressed Air and Vacuum Plant Room | 40 |  |  | M
| EMSD.PTS.Serving Zone No. | Serving Zone No | Text | Data | 3001 | 10 |  |  | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 21.6 Dumping Station
EMSD BIM-AM Asset Data Template (ADT)
ADT Reference No. |  | PTS-7
Code (System - Equipment) |  | PTS-DS
System Type |  | Pneumatic Tube Transport
Equipment Type |  | Dumping Station
Equipment Level |  | L2
Version |  | 2.0
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Pneumatic Tube Transport | 100 |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Pneumatic Tube Transport | 100 |  |  | M | N
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.PTS.Dumping Station No. | Dumping Station No. | Text | Data | No.2 | 10 |  |  | M
| EMSD.PTS.Equipment Location | Equipment Location | Text | Data | 9/F Compressed Air and Vacuum Plant Room | 40 |  |  | M
| EMSD.PTS.Serving Zone No. | Serving Zone No | Text | Data | 3001 | 10 |  |  | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 21.7 Power Pack
EMSD BIM-AM Asset Data Template (ADT)
ADT Reference No. |  | PTS-8
Code (System - Equipment) |  | PTS-PP
System Type |  | Pneumatic Tube Transport
Equipment Type |  | Power Pack
Equipment Level |  | L2
Version |  | 2.0
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Pneumatic Tube Transport | 100 |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Pneumatic Tube Transport | 100 |  |  | M | N
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.PTS.Equipment Location | Equipment Location | Text | Data | 9/F Compressed Air and Vacuum Plant Room | 40 |  |  | M
| EMSD.PTS.Input Voltage | Input Voltage | Text | Data | 60 | 10 |  |  | M
| EMSD.PTS.Output Voltage | Output Voltage | Text | Data | 45 | 10 |  |  | M
| EMSD.PTS.Power Pack No. | Power Pack No. | Text | Data | No.9 | 10 |  |  | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 21.8 Control Unit
EMSD BIM-AM Asset Data Template (ADT)
ADT Reference No. |  | PTS-9
Code (System - Equipment) |  | PTS-CCU
System Type |  | Pneumatic Tube Transport
Equipment Type |  | Central Control Unit
Equipment Level |  | L2
Version |  | 2.0
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Pneumatic Tube Transport | 100 |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Pneumatic Tube Transport | 100 |  |  | M | N
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.PTS.Central Control Unit No. | Central Control Unit No. | Text | Data | 3 | 10 |  |  | M
| EMSD.PTS.Equipment Location | Equipment Location | Text | Data | 9/F Compressed Air and Vacuum Plant Room | 40 |  |  | M
| EMSD.PTS.Input Voltage | Input Voltage | Text | Data | 60 | 10 |  |  | M
| EMSD.PTS.Output Voltage | Output Voltage | Text | Data | 45 | 10 |  |  | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment

## 21.9 Master Workstation
EMSD BIM-AM Asset Data Template (ADT)
ADT Reference No. |  | PTS-10
Code (System - Equipment) |  | PTS-MW
System Type |  | Pneumatic Tube Transport
Equipment Type |  | Master Workstation
Equipment Level |  | L2
Version |  | 2.0
Parameter Name |  | Description | Type | Group | Example | Max characters | Value | Units | M/O | EMSD Specific
GENERAL ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.Common.Asset Code | Long form Asset Code | Text | Data | KT-EMSDN-NA-001-HVAC-FCU-0001 | 33 |  |  | M | N
| EMSD.Common.Functional Location | Functional Location | Text | Data | CHB-LF | 30 |  |  | M | Y
| EMSD.Common.Asset Relationship | Asset Relationship of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Grouped Equipment ID | Grouped Equipment ID of the equipment | Text | Data | To be filled using asset information input tool | N/A |  |  | M | N
| EMSD.Common.Asset Tag No. | RFID Tag No. / QR Code of the equipment | Text | Data | EMSDN-0000000001 | 16 |  |  | M | N
| EMSD.Common.Zone Tag No. | QR Code for Zone | Text | Data |  | 16 |  |  | M | N
| EMSD.Common.Onsite Verified Date | Onsite Verified Date | Text | Data | 01.12.2000 | N/A |  |  | M | N
| EMSD.Common.Photo | Equipment Photo | URL | Data | ......... "Project Name"\Photo\ Pneumatic Tube Transport | 100 |  |  | O | N
GENERAL ¦ Parameter type: Type ¦ Discipline: Common
| EMSD.Common.Documentation | The reference Link of the documents (T&C Records, O&M Manual, Catalogues, Certificates.....) | URL | Data | ......... "Project Name"\30_O&M Documentation\Pneumatic Tube Transport | 100 |  |  | M | N
| EMSD.Common.Manufacturer | Manufacturer of the equipment | Text | Data | ABC Company | 30 |  |  | O | N
| EMSD.Common.Model No. | Model number of the equipment | Text | Data | A1234 | 30 |  |  | O | N
EQUIPMENT SPECIFIC ¦ Parameter type: Instance ¦ Discipline: Common
| EMSD.PTS.Equipment Location | Equipment Location | Text | Data | 9/F Compressed Air and Vacuum Plant Room | 40 |  |  | M
Remarks: M/O: Mandatory / Optional L1: Level 1 equipment L2: Level 2 equipment