File Ref. : EMSD/GSD-B/

Testing and Examination of LPG Tank (Form 106)

under Regulation 8 of Gas Safety (Gas Supply) Regulations, Cap. 51

To :	The Gas Authority

Address of Notifiable Gas Installation: ___________________________________________________

___________________________________________________________________________________

Mode of Storage		:____________________________

Serial No. 			:____________________________

Water Capacity		:____________________________

Tank Design Code	: ____________________________

Date of Installation & Last Revalidation: _________________________________________________

| Test / Examination | Test Date(s) | Attached Document Reference No. | Tested by | Remarks |
| --- | --- | --- | --- | --- |
| Hydraulic test |  |  |  |  |
| Full visual inspection |  |  |  |  |
| Ultrasonic thickness test |  |  |  |  |
| Magnetic particle test |  |  |  |  |
| Coating thickness & holiday tests |  |  |  |  |
| Testing & examination of tank fittings |  |  |  |  |
| Cathodic protection test |  |  |  |  |
| Electrical continuity test |  |  |  |  |
| Others (if applicable) |  |  |  |  |

Certified by Class 1a Competent Person:

I certify that the above tank has satisfactorily been tested and examined under my supervision in accordance with the Gas Standards Office’s requirements in order to comply with Regulation 8 of the Gas Safety (Gas Supply) Regulations and it is suitable for continued LPG service.

Name: ______________________________	Signature: __________________________

Date: _______________________________